## HOMES at SAWTELLE ROAD

LEOMINSTER, MA

#### Standard Home Specifications

### Lot Improvements, Exterior Grounds, Utilities

Driveway/walk:	Asphalt (2" base coat)

Front Steps:		Pre-cast Concrete (or pressure treated with composite decking for 				front porches)

Landscaping:	Loam, graded and seeded up to 30 feet of disturbed area with 6 foundation plantings

Utilities:	Underground electric, cable and telephone.  Heat, cooking and hot water is natural gas.

Water:	Town Water

Sewage:	Town Sewer

##### Exterior Finishes and Structural Elements

###### Foundation:		Poured concrete walls and footings, damp-proofed

Basement Floor:	Poured concrete over crushed stone or compacted fill with perimeter drains.  Prepped for Radon mitigation

Garage Floor:		Poured concrete over compacted gravel and fill

Insulation:	Energy efficient R21 in exterior walls, R38 blown-in attic ceiling and R30 in basement ceilings

Frame:	2 x 6 exterior walls, 2 x10 floor joists

Siding & Trim:	Low maintenance vinyl siding and soffit vents, aluminum wrapped roof trim

Windows:	Energy efficient (Low E) vinyl windows, double hung, full tilting and removable sashes with internal grills and screens.  Casement windows may be provided in certain rooms.

Exterior Doors:	Steel insulated entry doors and vinyl sliders with screens to deck area on some plans

Garage:	Two-car garage with single 16-foot overhead door or 2 single overhead doors as determined by plan

Decks:	Pressure treated 12 x 10

Water Spigots:	2 exterior sill faucets

Lights & Outlets:	Lighting per code, 2 exterior outlets (see fixture allowance)

Roof:	30-year ltd. factory warranty architectural shingles with ice and water shield on eaves, valleys and in select areas

Sheathing:	Roof is ½ inch ZipRoof, wall is 7/16 inch ZipWall, and sub-floors are       ¾ inch tongue and grooved OSB, nailed, glued and screwed

Interior Finishes

Walls:	Drywall

Closet walls and ceilings will be textured white

Interior Trim:	Colonial door and window casing, paint grade, baseboard is 5 1/4 inch paint grade

Interior Doors:	2 panel, molded doors with brushed nickel hardware

Interior Paint:	Two coats on walls and woodwork, one color builder’s choice on walls

HVAC:	High Efficiency Forced Hot Air natural gas, Central Air, 2 zones

Interior Plumbing:	Kitchen - Single bowl under mount stainless steel sink, with single lever faucet and spray

Baths - will have white fiberglass tubs and showers, white ceramic toilets and sinks per plan

Laundry - washer hook up and electric dryer hook up

Hot Water – gas fired on demand

Electrical:	Fixtures: An allowance of $800 will be given for all interior and exterior light fixtures including bulbs

Telephone jacks pre-wired: 4

Cable jacks pre-wired: 4

Appliances:	$1500 Allowance – for dishwasher, range and microwave installation is included

Flooring:	Hardwood floors in kitchen, dining room, and foyer; Ceramic tile in baths, oak treads on stairway, carpet elsewhere

Cabinets:	Choice of kitchen cabinets and vanities and granite counters from builder’s selection - islands and peninsulas are optional on most plans

Closets:	Ventilated closet shelving

Fireplace:	Optional Zero clearance gas fired, (included in some plans)

Not Included:	Mirrors, bath hardware, mail boxes

Change Orders:    	All requested changes to the above specifications will be executed only upon written change order signed by the buyer and seller and any extra costs will be paid at the time of the change order.

Radon:	The  does not include active mitigation systems for the existence of radon gas, which is a natural occurrence.  All basement slabs include future mitigation piping to the outside.